## Slide 1
PROGRAMME MODULE 2 (PM2)
IMPLEMENTING TB DIAGNOSTICS: PRACTICAL CONSIDERATIONS

## Slide 2: MODULE CONTENTS
Practical considerations for introducing new TB diagnostics
Key steps to be taken when implementing new TB diagnostics
  Mapping of diagnostics networks
  Convening of Technical Working Group (TWG)
Indicators to monitor when implementing new TB diagnostics
© John Rae

## Slide 3: LEARNING OBJECTIVES
At the end of this module, you will be able to:
List the key considerations for implementing new TB diagnostics
List key steps to be taken when implementing new TB diagnostics
Explain why mapping is important when implementing new TB diagnostics
Describe the role of the TWG in this process
List indicators to monitor implementation

## Slide 4: KEY CONSIDERATIONS FOR IMPLEMENTING TB DIAGNOSTICS
Components | Activity | Collaboration & coordination
National policy review and revision | Review guidance, incorporate new WHO-recommended test | 
Diagnostic network | Determine appropriate placement of diagnostics to meet country need | 
Infrastructure | Assess potential sites prior to placement | 
Personnel | Train users, advanced users & clinicians | 
Treatment capacity | Ensure adequate treatment capacity | 
Quality assurance | Put systems in place to ensure quality testing | 
Procurement | Develop supply chain to allow for uninterrupted services | 
Monitoring implementation | Establish systems for monitoring the implementation of new TB diagnostics | 
Connectivity | Consider appropriate connectivity solution(s) | 
Financing | Secured from national government, donors or partners | 

## Slide 5: NATIONAL POLICY REVIEW AND REVISION
WHO publishes policies on new TB diagnostics or on updated policy guidance or report of an existing WHO-recommended TB diagnostic
Country should review guidance and reports and incorporate new WHO-recommended tests or updates to WHO recommendations as appropriate
  Data on prevalence of TB, MDR-TB and TB-HIV needed for decision-making on placement and targeting of TB diagnostics to key patient populations
  May need to identify changes to pre-test screening strategies

## Slide 6: NATIONAL POLICY REVIEW AND REVISION
Update:
  Diagnostic algorithm(s)
  Request and reporting forms and registers, if needed
  Seek approval of revised national policy and guidelines by MOH
  Review strategic and annual operational plans to ensure planning and budgeting is in-line with revised national policy
  Disseminate revised policy and guidelines

## Slide 7: DIAGNOSTIC NETWORK
Determine appropriate placement of TB diagnostics to meet country need
  Where do patients access diagnosis, care and treatment?
  How can placement of new TB diagnostics contribute to improved patient access to services?
  Consider infrastructure, sample referral systems, human resources, laboratory workload etc.
  There should be sufficient anticipated workload at a testing site to justify placement and to maintain proficiency
  Consider public and private sector placement
  Cost-effectiveness of different placement strategies

## Slide 8: DIAGNOSTIC NETWORK: MAPPING
Why is mapping important?
To determine optimal placement of TB diagnostics to improve access and impact
To determine the best national testing algorithm for your country based on epidemiological and clinical needs
To understand your current referral network and design a functional referral network
Crucial for logistics planning and optimisation for cost efficiencies
  Scenario-planning to understand costs/inputs without spending the associated time/money
Planning for integration of different vertical disease programmes

## Slide 9: DIAGNOSTIC NETWORK: MAPPING
The following information is needed for mapping the current network:
  Catchment areas for health & laboratory services
  Location of health facilities (GIS) – level and services
  Location of laboratories (GIS) – test menu
  Existing referral pathways between health facilities and laboratories and from lower level to higher level laboratories
  Number of tests performed per laboratory
  Disaggregated epidemiological data

## Slide 10: DIAGNOSTIC NETWORK: MAPPING
The following information is needed for mapping the current network:
Much of this information may already be available in-country
  Check within MOH planning department, universities or partners
  Should be done across disease types, not by vertical programme
Various software can be used to visually represent information on a map
Specialized mapping software is available, but may require training and/or technical support

## Slide 11: INFRASTRUCTURE
Potential sites should be assessed prior to placement of new equipment to ensure adequate infrastructure:
  Uninterrupted power supply, sufficient and secure space, adequate storage, temperature-controlled environment
  See TM1: Installation of GeneXpert Instrument
  For Xpert MTB/RIF or Xpert Ultra, biosafety requirements are similar to those required for direct sputum smear microscopy
  See TB2: TB Biosafety

## Slide 12: PERSONNEL
Training will be required:
  Each testing site will need at least 1-2 staff with basic computer literacy and knowledge of laboratory registers
  Clinicians and other health-workers
Training should include all aspects needed to improve patient care, including screening and referral for testing, ordering of tests, interpretation of results, initiation on treatment, contact tracing and treatment monitoring

## Slide 13: TREATMENT CAPACITY
Countries must ensure adequate treatment capacity for all patients diagnosed with TB and MDR-TB
Treatment should conform to WHO recommendations
Strong coordination between laboratory and clinical services is essential to enable rapid linkage of diagnosed patients to care

## Slide 14: QUALITY ASSURANCE
Countries should develop a detailed transition plan every time a new technology is introduced
At the start of implementation, countries should put in place systems and procedures to ensure quality of testing
Routine monitoring of quality indicators at testing sites is essential and gives the best reflection of quality of routine testing

## Slide 15: QUALITY ASSURANCE
On-site supervision of testing sites is a critical part of quality assurance
Proficiency testing is a useful means of identifying major errors at sites, especially where a large number of sites exist and frequent on-site visits are challenging and resource-intensive
Equipment verification, regular maintenance and servicing of equipment are necessary

## Slide 16: PROCUREMENT
TB diagnostic instruments and reagents must be registered according to national regulatory guidelines, or a waiver on importation obtained
Importation procedures should allow for reliable procurement, and exchange of equipment for calibration, swap or repair
Countries should develop efficient supply chain systems and procedures to allow for uninterrupted supply of reagents with sufficient shelf-life
Forecast needs based on actual consumption where possible, or on expected demand, including adequate buffer stock
When introducing new TB diagnostics, review existing and planned orders of tests to ensure they are still in-line with need

## Slide 17: MONITORING IMPLEMENTATION
Countries should establish systems, or strengthen existing systems, for monitoring the implementation of new TB diagnostics
Monitoring and evaluation (M&E) should include process, outcome and impact indicators
  e.g. Process indicators: how many health facilities had access to Xpert MTB/RIF or Xpert Ultra testing services this year?

## Slide 18: MONITORING IMPLEMENTATION
  Outcome indicators: How many TB cases have been diagnosed with Xpert MTB/RIF or Xpert Ultra among all cases which were bacteriologically confirmed?
  Impact indicators: Did implementation of Xpert MTB/RIF or Xpert Ultra result in a reduction in TB-associated mortality in HIV co-infected individuals?
All key programme elements should be tracked, including laboratory, clinical and programmatic aspects
See PM6: How to Monitor and Evaluate your Programme

## Slide 19: CONNECTIVITY
Data connectivity is essential when implementing new diagnostics
Data connectivity enables access to real-time data to improve supply chain management, quality assurance, equipment maintenance and enable rapid reporting of patient results
Countries need to consider connectivity solution(s), hardware needed for implementation, internet connectivity, data hosting options, data security, data ownership, human resource needs, and budgeting
See PM5: How to Plan and Implement Connectivity Solutions
Diagnostics connectivity is being monitored as an indicator for laboratory strengthening under the End TB Strategy

## Slide 20: FINANCING
Funding should be secured from national government, donors or partners to ensure implementation, inclusive of all elements, not just supplies and equipment
In many high burden countries there may be limited or no separate budget for implementation of new TB diagnostics
In many low and middle countries the majority of funding comes from external donors (Global Fund, USAID, and others etc.
See PM7: Funding your Programme

## Slide 21: COLLABORATION & COORDINATION
The introduction of a new diagnostic into a country must be led by the Ministry of Health or the equivalent agency
It is essential that the introduction of the new diagnostic be coordinated at the country level
Technical agencies and donors need to work within the framework of the NTP and HIV/ AIDS programmes

## Slide 22: PLANNING
Situational analysis / TB diagnostic network assessment
Technical working group (TWG) or similar body to review country data on implementation and recommendations from TB diagnostic network assessment
Review of new WHO TB diagnostics policies

## Slide 23: PLANNING
TWG to provide recommendations on potential role of new tests and placement within network, as well as possible algorithms
Determine need for country evaluation data prior to uptake of new technologies
Output = National Policy Guidance

## Slide 24: PLANNING
Visit testing sites and determine the suitability for new diagnostic placement
Assess testing & clinical site readiness with standardised checklist. Consider infrastructure, personnel, safety and current workload.
Perform testing / clinical site upgrades
Procure instruments
Estimate the volume of testing & procure reagents
Revise documentation and circulate

## Slide 25: IMPLEMENTING
Conduct training for users, advanced users and clinicians
Perform verification studies
Conduct regular on-site supervision visits according to agreed schedule using standardized checklists
Mentor supervisors/advanced users in troubleshooting, on-site supervision and training
Establish monthly reporting and review site quality indicators
Enroll testing sites in EQA programme
Establish regular maintenance, calibration and servicing schedules
Establish supply management system

## Slide 26: MONITORING
Conduct routine monthly reporting and review of quality indicators
Monitor the performance of testing sites EQA
Monitor testing sites to ensure regular maintenance, calibration and servicing of equipment
Perform follow-up training and re-training as required
Determine the impact of new diagnostic

## Slide 27: DISCUSSION QUESTIONS
List five key considerations when implementing a new TB diagnostic test?
Why is mapping the diagnostic network important?
What are the roles of the TWG when implementing a new TB diagnostic test?
List three types of indicators that should be monitored when implementing a new TB diagnostic test, and give an example of each?

## Slide 28: KEY MESSAGES
Perform a diagnostic network assessment before implementing a new TB diagnostic test
Map the diagnostic network to identify suitable placement of a new TB diagnostic test
Implement a new TB diagnostic test using a phased approach
Ensure QA and M&E activities are adopted
Costing & funding of a new TB diagnostic test is important to ensure sustainability

## Slide 29
THANK YOU
© John Rae