Swaziland National Health Laboratory Services

Standard Operating Procedure

Title:	Internal Audit

Document Number:		NSTS 002

Version: 			1

Effective Date: 		June 2017

Written by: 			Adian Thring

Checked by:			Lab Analyst

Approved by:			Dumile Sibandze

| Date of next review | Date reviewed | Reviewed by | Action |
| --- | --- | --- | --- |
| June 2018 | June 2017 | Lab Systems Analyst |  |

Table of Contents

Table of Contents	2

Purpose	3

Scope	3

Objectives	3

Definitions	3

Responsibilities	3

Procedure	4

Methodology	4

Auditing procedure	4

Reports	4

Follow up activities	4

Related documents	4

References	5

# Purpose

This SOP describes the internal audit process for the quality system, which takes place on a planned basis over the course of the year.

- Scope

The internal audits will inspect actual practice against the requirements of the SOPs. Each auditor or audit team will prepare an audit checklist of the area to be covered. Corrective actions may be raised following an internal or regulatory audit where non-conformances have been observed.

- Objectives

- effectiveness and efficiency of procedures

- compliance with the quality policy

- quality assurance improvement.

# Definition of Terms

Internal audit: An audit carried out by the laboratory personnel who examine the elements of a quality management system in their laboratory in order to evaluate how well these elements comply with quality system requirements.

Audit Trail: Documentation that allows reconstruction of the course of events.

Compliance: Adherence to all the NSTS requirements, good clinical practice (GCP) requirements, and the applicable regulatory requirements.

Documentation: All records, in any form (including, but not limited to, written, electronic, magnetic, and optical records) that describe or record the methods, conduct, and/or results of NSTS operations, the factors affecting NSTS operational work, and the actions taken.

Quality Assurance (QA): All those planned and systematic actions that are established to ensure that transportation of samples is performed and the data are generated, documented (recorded), and reported in compliance with GCP and the applicable regulatory requirement(s).

Quality Control (QC): The operational techniques and activities undertaken within the quality assurance system to verify that the requirements for quality of the trial-related activities have been fulfilled.

Standard Operating Procedures (SOPs): Detailed, written instructions to achieve uniformity of the performance of a specific function.

# Responsibilities

  - Auditor/audit team is responsible for:

- Arranging a suitable time for the audit with the representative.

- Reviewing the SOP and from this developing an audit checklist.

- Completing the audit and audit report

  - QualityManager is responsible for:

- Organising internal quality audits. He / she will appoint a person or team to carry out each audit. The lead auditor will be independent of the area being audited.

- Ensuring that corrective actions are closed out in a timely fashion, within determined close-out dates whenever possible, this is a joint responsibility with the representative of the area being audited.

- Coordinate the preparation of annual and long-range internal audit plans;

- establish documented standards for the conduct, documentation and reporting of audit, consultation and investigation activities.

- Instigating a timely follow-up to assess whether appropriate actions have been taken on reported audit findings.

- Ensuring rotation of auditor assignments to enhance freshness and objectivity of the Audit Group members.

- Determining appropriate minimum levels of staffing for the Audit Group.

- Coordinating the development and archiving of model audit programs to avoid duplication of efforts.

- Facilitating and serving as a conduit for the sharing of information among laboratory audit departments regarding:

      - planned audit efforts

      - significant audit and investigation findings of mutual interest and concern

      - audit reports issued

      - development of improved audit techniques/technologies.

- Being mindful of Audit Group appropriate role versus the role of management and actively promoting and advocating a sound system of internal controls in support of operational effectiveness and efficiency objectives.

  - Representative is responsible for:

- Cooperating with the internal auditor.

- Progress corrective actions to completeness.

- Responsible for the area being audited and ensures that actions are taken, without undue delay, to eliminate detected nonconformities and their causes

## Procedure

## Methodology

- Appropriate selection of auditors and effective audit techniques ensure usefulness, objectivity and impartiality of the audit process.

NOTE: Auditors do not audit their own work.

- The auditing procedure will:

- take into consideration the status and importance of the processes and areas to be audited, as well as the results of previous audits;

- define the audit criteria, scope, frequency and methods.

The internal audit is a valuable tool in a quality management system. An internal audit can help the laboratory to:

- prepare for an external audit;

- increase staff awareness of quality system requirements;

- identify the gaps or nonconformities that need to be corrected and the opportunities for improvement;

- understand where preventive or corrective action is needed;

- identify areas where education or training needs to occur;

- determine if the laboratory is meeting its own quality standards.

## Auditing procedure

The Audit Group will:

- Establish a checklist  in accordance with standards established for the internal audit program.

- Conduct audit, consultation and investigation activities as planned.

- Go through the pre-established checklist.

## Reports

The Audit Group:

- Provides formal reports to the Chief Laboratory Technologist on audit, and at other times as requested.

- Meets with the Chief Laboratory Technologist to discuss audit matters of concern, to provide information on internal audit initiatives, and to promote consistency of internal audit oversight.

## Follow up activities

- Verification and validation of actions taken and results reporting.

- Related documents

- Internal Audit Checklist

Internal Audit Process

Audit Schedule Prepared Audit Schedule circulated Auditor(s) assigned Audit Prep Conduct Audit Report audit findings Corrective action(s) agreed and audit report completed Corrective Action(s) Identified? YES NO NO Corrective actions(s) completed? Audit Completed Corrective action closed out