## Dewanganj
Blinded Rechecking of Sputum Smear Examinations for Acid-Fast Bacilli
Form 1
Peripheral Laboratory: |  |  | Dewanganj | [6 empty] | First controller:
Local technician(s): | [9 empty] | Laboratory:
Date sampled: |  | April 1 | [7 empty] | Second controller:
Period in lab. register checked: |  |  |  |  | Jan - March 2001 |  |  |  |  | Laboratory:
Peripheral lab |  | Results of |  | Specimen | Size | Thickness | Staining | Comment |  | Peripheral lab |  | Results of |  | Specimen | Size | Thickness | Staining | Comment
Slide no. | Result | first control | second control | [6 empty] | Slide no. | Result | first control | second control
994/2 | NEG | NEG | [7 empty] | 966/3 | NEG | NEG
906/2 | NEG | NEG | [7 empty] | 969/3 | NEG | NEG
910/3 | NEG | NEG | [7 empty] | 996/2 | NEG | NEG
916/1 | NEG | NEG | [7 empty] | 999/3 | NEG | NEG
920/1 | 1+ | 2+ | [7 empty] | 992/2 | 3/100 | NEG | NEG
929/2 | NEG | NEG | [7 empty] | 994/1 | 1+ | 1+
939/3 | NEG | NEG | [7 empty] | 995/1 | NEG | NEG
940/1 | 1+ | 3+ | 2+ | [6 empty] | 904/2 | 2+ | NEG | NEG
945/2 | NEG | 1+ | 1+ | [6 empty] | 905/1 | NEG | NEG
950/3 | NEG | NEG | [7 empty] | 909/2 | 7/100 | 2+ | 2+
956/2 | 1/100 | NEG | 1/100 | [6 empty] | 913/3 | NEG | NEG
960/1 | NEG | NEG | [7 empty] | 919/1 | NEG | NEG
Specimen, Size, Thickness and Staining : M= Marginal, P= Poor
| Peripheral Laboratory | [8 empty] | First controller
| Totals reported results on the samples (nos.) | [8 empty] | Totals reported results on the samples (nos.)
| Positive: ______ |  | Scanty: ______ |  |  | Negative: _________ |  |  |  | Positive: ______ |  | Scanty: ______ |  |  | Negative: _________
| Summary of errors identified (nos.) | [8 empty] | Summary of errors identified (nos.)
| HFP |  | LFP |  | HFN |  | LFN |  | QE | HFP |  | LFP |  | HFN |  | LFN |  | QE
| HFP = High False Positive; HFN = High False Negative; LFP = Low False Positive; LFN = Low False Negative; QE = Quantification Error | [8 empty] | HFP = High False Positive; HFN = High False Negative; LFP = Low False Positive; LFN = Low False Negative; QE = Quantification Error
Conclusions:
Recommendations:

## JamalpurSadar
Blinded Rechecking of Sputum Smear Examinations for Acid-Fast Bacilli
Form 1
Peripheral Laboratory: |  |  | Jamalpur Sadar | [6 empty] | First controller:
Local technician(s): | [9 empty] | Laboratory:
Date sampled: |  | April 1 | [7 empty] | Second controller:
Period in lab. register checked: |  |  |  |  | Jan - March 2001 |  |  |  |  | Laboratory:
Peripheral lab |  | Results of |  | Specimen | Size | Thickness | Staining | Comment |  | Peripheral lab |  | Results of |  | Specimen | Size | Thickness | Staining | Comment
Slide no. | Result | first control | second control | [6 empty] | Slide no. | Result | first control | second control
204/3 | NEG | NEG | [7 empty] | 227/2 | NEG | NEG
206/2 | NEG | NEG | [7 empty] | 231/2 | NEG | NEG
207/2 | NEG | NEG | [7 empty] | 235/2 | 8/100 | 2+ | 1+
208/3 | NEG | NEG | [7 empty] | 238/2 | NEG | NEG
209/2 | 1+ | 1+ | [7 empty] | 240/2 | NEG | NEG
210/3 | NEG | NEG | [7 empty] | 215/3 | NEG | NEG
211/2 | 2+ | 2+ | [7 empty] | 221/3 | NEG | NEG
215/2 | NEG | NEG | [7 empty] | 222/2 | NEG | NEG
217/2 | NEG | NEG | [7 empty] | 227/2 | NEG | NEG
222/2 | 1+ | 2+ | [7 empty] | 235/3 | NEG | NEG
225/2 | NEG | NEG | [7 empty] | 238/3 | NEG | NEG
226/3 | 1+ | NEG | NEG | [6 empty] | 240/2 | NEG | NEG
Specimen, Size, Thickness and Staining : M= Marginal, P= Poor
| Peripheral Laboratory | [8 empty] | First controller
| Totals reported results on the samples (nos.) | [8 empty] | Totals reported results on the samples (nos.)
| Positive: ______ |  | Scanty: ______ |  |  | Negative: _________ |  |  |  | Positive: ______ |  | Scanty: ______ |  |  | Negative: _________
| Summary of errors identified (nos.) | [8 empty] | Summary of errors identified (nos.)
| HFP |  | LFP |  | HFN |  | LFN |  | QE | HFP |  | LFP |  | HFN |  | LFN |  | QE
| HFP = High False Positive; HFN = High False Negative; LFP = Low False Positive; LFN = Low False Negative; QE = Quantification Error | [8 empty] | HFP = High False Positive; HFN = High False Negative; LFP = Low False Positive; LFN = Low False Negative; QE = Quantification Error
Conclusions:
Recommendations:

## ReportForm
RE-CHECKING OF SPUTUM SMEARS FOR AFB
[7 empty] | CONSOLIDATED REPORT FORM | [9 empty] | Form 3
Region | Jamalpur | [7 empty] | First controller(s) | Abdul Latif, CS office
Quarter | First | [7 empty] | Second controller | Akramul Jahid, CDC
Year | 2001 | [7 empty] | QA coordinator | Abdul Haque, PO
|  | Performance of peripheral laboratories | [7 empty] | Performance of the first controller
Names of the |  | Numbers of smears re-checked* |  |  | Numbers of errors** |  |  |  |  | Controller | Numbers of smears re-checked**** |  |  | Numbers of errors*****
laboratories |  | Pos. | Scanty | Neg. | HFP | LFP | HFN | LFN | QE | ID*** | Pos. | Scanty | Neg. | HFP | LFP | HFN | LFN | QE
TOTALS
Date | [8 empty] | Signature
Legend:
* | fill here the counts of results positive, scanty 1-9 or negative as registered at the controlled laboratory for the rechecked smears (column peripheral results from the rechecking form)
** | fill here the numbers of errors found for the controlled laboratory, after discordants were rechecked by the second controller (HFP=high false positive, LFP=low false positive, HFN=high false negative, LFN=low false negative, QE=quantification error)
*** | fill here name or identification code of the first controller who reread slides from the respective laboratory
**** | fill here the counts of results positive, scanty 1-9 or negative as registered by the first controller for the rechecked smears (column first controller results from the rechecking form)
***** | fill here the numbers of errors found for the first controller, after discordants were rechecked by the second controller (HFP=high false positive, LFP=low false positive, HFN=high false negative, LFN=low false negative, QE=quantification error)

## FilledReport
RE-CHECKING OF SPUTUM SMEARS FOR AFB
[7 empty] | CONSOLIDATED REPORT FORM | [9 empty] | Form 3
Region | Jamalpur | [7 empty] | First controller(s) | Abdul Latif
Quarter | First | [7 empty] | Second controller | Akramul Jahid, CDC
Year | 2001 | [7 empty] | QA coordinator | Abdul Haque, PO
|  | Performance of peripheral laboratories | [7 empty] | Performance of the first controller
Names of the |  | Numbers of smears re-checked* |  |  | Numbers of errors** |  |  |  |  | Controller | Numbers of smears re-checked**** |  |  | Numbers of errors*****
laboratories |  | Pos. | Scanty | Neg. | HFP | LFP | HFN | LFN | QE | ID*** | Pos. | Scanty | Neg. | HFP | LFP | HFN | LFN | QE
Jamalpur Sadar |  | 4 | 1 | 19 | 1 |  |  |  |  | AL | 4 | 0 | 20
Dewanganj |  | 4 | 3 | 17 | 1 | 1 | 1 |  | 1 | AL | 5 | 0 | 19 |  |  |  | 1
Melandaha |  | 6 | 4 | 14 |  | 1 |  |  |  | AL | 4 | 1 | 19 |  |  | 2 | 2
Sibganj |  | 3 | 3 | 18 | 1 |  | 3 |  | 1 | AL | 6 | 1 | 17 |  |  |  | 1
TOTALS |  | 17 | 11 | 68 | 3 | 2 | 4 | 0 | 2 |  | 19 | 2 | 75 | 0 | 0 | 2 | 4 | 0
Date | [8 empty] | Signature
Legend:
* | fill here the counts of results positive, scanty 1-9 or negative as registered at the controlled laboratory for the rechecked smears (column peripheral results from the rechecking form)
** | fill here the numbers of errors found for the controlled laboratory, after discordants were rechecked by the second controller (HFP=high false positive, LFP=low false positive, HFN=high false negative, LFN=low false negative, QE=quantification error)
*** | fill here name or identification code of the first controller who reread slides from the respective laboratory
**** | fill here the counts of results positive, scanty 1-9 or negative as registered by the first controller for the rechecked smears (column first controller results from the rechecking form)
***** | fill here the numbers of errors found for the first controller, after discordants were rechecked by the second controller (HFP=high false positive, LFP=low false positive, HFN=high false negative, LFN=low false negative, QE=quantification error)

## FilledReportSherpur
RE-CHECKING OF SPUTUM SMEARS FOR AFB
[7 empty] | CONSOLIDATED REPORT FORM | [9 empty] | Form 3
Region | Sherpur | [7 empty] | First controller(s) | Abdul Aziz
Quarter | First | [7 empty] | Second controller | Akramul Jahid, CDC
Year | 2001 | [7 empty] | QA coordinator | Abdul Haque, PO
|  | Performance of peripheral laboratories | [7 empty] | Performance of the first controller
Names of the |  | Numbers of smears re-checked* |  |  | Numbers of errors** |  |  |  |  | Controller | Numbers of smears re-checked**** |  |  | Numbers of errors*****
laboratories |  | Pos. | Scanty | Neg. | HFP | LFP | HFN | LFN | QE | ID*** | Pos. | Scanty | Neg. | HFP | LFP | HFN | LFN | QE
Sherpur Sadar |  | 1 | 0 | 23 | [5 empty] | AA | 1 | 0 | 23
Jhenaigati |  | 4 | 1 | 19 |  |  | 1 |  | 1 | AA | 6 | 0 | 18 |  |  |  | 1
Sunamganj |  | 6 | 0 | 18 | 1 |  |  |  |  | AA | 4 | 1 | 19
Kibondo |  | 2 | 2 | 20 |  |  | 3 |  | 1 | AA | 6 | 1 | 17
TOTALS |  | 17 | 11 | 68 | 3 | 2 | 4 | 0 | 2 |  | 19 | 2 | 75 | 0 | 0 | 2 | 4 | 0
Date | [8 empty] | Signature
Legend:
* | fill here the counts of results positive, scanty 1-9 or negative as registered at the controlled laboratory for the rechecked smears (column peripheral results from the rechecking form)
** | fill here the numbers of errors found for the controlled laboratory, after discordants were rechecked by the second controller (HFP=high false positive, LFP=low false positive, HFN=high false negative, LFN=low false negative, QE=quantification error)
*** | fill here name or identification code of the first controller who reread slides from the respective laboratory
**** | fill here the counts of results positive, scanty 1-9 or negative as registered by the first controller for the rechecked smears (column first controller results from the rechecking form)
***** | fill here the numbers of errors found for the first controller, after discordants were rechecked by the second controller (HFP=high false positive, LFP=low false positive, HFN=high false negative, LFN=low false negative, QE=quantification error)

## JamalpurPerformance
AFB LABORATORY PERFORMANCE | [8 empty] | Form 4
QUARTERLY / ANNUAL REPORT FORM
Region |  | Jamalpur |  |  |  | Quarter / Year | 2001
Numbers of smears examined
Names of the |  |  | For diagnosis |  |  | For follow-up
laboratories |  |  | Pos. | Scanty | Neg. | Pos. | Scanty | Neg. | ZN/FM
Jamalpur Sadar |  |  | 723 | 34 | 3298 | 19 | 5 | 365 | ZN
Dewanganj |  |  | 512 | 25 | 2569 | 15 | 25 | 403 | ZN
Melandaha |  |  | 178 | 19 | 2036 | 12 | 22 | 255 | ZN
Sibganj |  |  | 120 | 0 | 1555 | 5 | 0 | 167 | ZN
TOTALS |  |  | 1533 | 78 | 9458 | 51 | 52 | 1190
| Signature |  |  |  |  | Date

## SherpurPerformance
AFB LABORATORY PERFORMANCE | [8 empty] | Form 4
QUARTERLY / ANNUAL REPORT FORM
Region |  | Sherpur |  |  |  | Quarter / Year | 2001
Numbers of smears examined
Names of the |  |  | For diagnosis |  |  | For follow-up
laboratories |  |  | Pos. | Scanty | Neg. | Pos. | Scanty | Neg. | ZN/FM
Sherpur Sadar |  |  | 551 | 23 | 5623 | 25 | 40 | 412 | ZN
Jhenaigati |  |  | 367 | 12 | 3798 | 22 | 15 | 503 | ZN
Sunamganj |  |  | 236 | 55 | 1752 | 17 | 19 | 255 | ZN
Kibondo |  |  | 178 | 46 | 654 | 11 | 0 | 199 | ZN
TOTALS |  |  | 1332 | 136 | 11827 | 75 | 74 | 1369
| Signature |  |  |  |  | Date