ANSWERS TO EXERCISE ON SAMPLE SIZE DETERMINATION

Question 1

Is the information given sufficient to determine sample sizes?

Please make the necessary calculations, and explain why you need to do this.

To use the LQAS tables, we absolutely need to know the prevalence of positives, which can be calculated from the data provided. Average volume and positivity rate should be calculated as well.

Question 2

What else do you need to know to look up required sample sizes in the LQAS tables?

To use the LQAS tables, we also need to set values for the target sensitivity and for the acceptance number “d”. (Significance level is always kept at 95%).

Question 3

Will it be possible to use a uniform sample size in this situation? Please explain.

There is too much variation among the labs both for volume and for prevalence of positives. The data shown indicate that one standard sample size is difficult to determine in such a situation, since the majority of centres would be under- or over-sampled. For many centres, setting a uniform standard sample size for all would result either in wasted work, or in uncertain results because the sample is too small.

It is preferable to determine individual sample sizes for each centre, and give this list to the supervisors who collect the samples.

Question 4

State the advantages and disadvantages of making the regional hospital responsible for the rechecking of the slides.

Advantage: Direct feedback is possible if examined at regional level

No transport problems to national reference lab

Disadvantage: Quality of regional technician can vary and must be monitored

Question 5

Estimate how many additional rechecking slides this technician could screen per year.

Probably not more than 2000, at a maximum of total about 20 slides per day. This is too high to expect reliable results

| Nr weeks working per year | nr days per year | max nr of slides (20 per day) | Present Workload | Additional workload possible |
| --- | --- | --- | --- | --- |
| 44 ? | 220 | 4400 | 2500 | 1900 |
| 46 ? | 230 | 4600 | 2500 | 2100 |
| 48 ? | 240 | 4800 | 2500 | 2300 |

Question 6: See table below.

Question 7

What is the total number of slides that will need to be rechecked annually by this regional technician?

2601

Question 8

Is this a feasible workload, allowing him to work accurately so as to arrive at results that are more reliable than those of his centres?

Using individual sample sizes, going for a value of d=1 and a sensitivity 85% is clearly not possible because of this will overload the controllers.

AFB Laboratories performance data

Question 9

What can you do to make technically accurate rechecking feasible, apart from adding staff?

Check at a lower target sensitivity, knowing that many centres will be performing better than this, and that at least centres with the more serious problems will be detected. A target sensitivity of 75% and d=0 is absolutely acceptable. The d=0 does not mean that we do not tolerate any errors in daily work, but just not in the small sample.

Question 10

Calculate total workload for these two sets of parameters, but using a uniform sample size for all centres, based on average positivity prevalence and negatives volume.

What does it mean for total workload compared to individual sample sizes?

The total load for d=0 and sensitivity 75% is feasible, and in fact there is still some margin left. This might be used to evaluate if 80% sensitivity and d=0, or 75% and d=1, are feasible. However, this could wait until first experiences with rechecking gives more information about the average quality of the centres, or after having quality has improved so that all centres stay above 75%.

Question 11

What are the other disadvantages of such an approach? Which of all these systems would be most appropriate and efficient in this setting, and why?

Workload with a standard sample size for each centre is almost the same at the lower values of the parameters, but clearly higher with their higher values. So there is no advantage from this point of view. For those centres with a high volume of negative slides, the standard size will be too low resulting in unreliable results.

Therefore, an individual sample size would be preferable; it should be used if supervisors can be taught how to manage sampling using a list with individual sample sizes. Sample sizes can be set up together in a yearly monitoring and planning meeting.

|  |  | Sens: 85% d=1 | Sens: 75% d=0 |
| --- | --- | --- | --- |
| Average volume of negatives | 830 |  |  |
| Average positivity rate | 11.4 |  |  |
| Standard Sample for each centre |  | 72 | 206 |
| Total nr of samples |  | 1080 | 3090 |