## ToBeProcured
ITEMS AND QUANTITIES TO BE PROCURED
[5 empty] | TOTAL COST: |  | 10007 | Euros | 11390
[7 empty] | of the estimated needs |  | of the order
Item | Unit | Pack unit | Pack size | Number of units needed | Number of packs needed | Pack price in Euros | Cost estimated needs in Euros | Number of packing units to order | Cost of the order | Packing unit |  | Pack size | Unit | Specifications
Sputum container | pc | carton | 1000 | 59800 | 59.8 | 80 | 4784 | 100 | 8000 | carton | of | 1000 | pc | Sputum containers, disposable, transparent plastic, frosted writing surface preferred, tight waterproof screw capped, wide mouthed with diameter ≥35 mm, volume 40 - 50 ml, combustible without forming dangerous (poison) smoke
Microscopy slides | pc | pack | 50 | 59800 | 1196 | 2 | 2392 | 1000 | 2000 | pack | of | 50 | pc | Microscope slides, lime soda glass with SiO2: 72 - 74 %, Al2O3: 1 – 1,9 %, Fe2O3: 0.09 – 0.1 %, size 76 x 24 mm, thickness 1.0-1.2 mm according to ISO 8037/1, cleaned and degreased, straight edges and corners, cellophanized (tropical packing, paper in-between)
Basic fuchsin | g | container | 100 | 1300 | 13 | 46 | 598 | 15 | 690 | container | of | 100 | g | Basic fuchsine, certified, (Colour Index №) C.I. 42510, C20H20ClN3, MW: 337.85, main product component ≥ 90%, melting point (decomposition 200 °C)
Phenol | g | container | 1000 | 11800 | 11.8 | 70 | 826 | 10 | 700 | container | of | 1000 | g | Phenol crystals, purum, ≥ 99% (GC), C6H6O, MW: 94.11, melting point 40.8 °C
Auramine O | g | container | 50 | 0 | 0 | 24 | 0 |  | 0 | container | of | 50 | g | Auramine O, certified, C.I. 41000, C17H22ClN3, MW: 303,84, dye component ≥ 85%, melting point ~ 265 °C
Potassium permanganate | g | container | 250 | 0 | 0 | 70 | 0 |  | 0 | container | of | 250 | g | Potassium permanganate, analytical grade, content 99%, KMnO4, MW: 158.04, decomposition > 240 °C
Sulfuric acid, concentrated | litre | bottle | 2.5 | 0 | 0 | 60 | 0 |  | 0 | bottle | of | 2.5 | litre | Concentrated sulphuric acid, technical grade, H2SO4, MW: 98.08, density: 1,84 [g/cm³]
Hydrochloric acid, fuming (37%) | litre | bottle | 2.5 | 0 | 0 | 20 | 0 |  | 0 | bottle | of | 2.5 | litre | Hydrochloric acid, HCl, MW: 36.5, purum, ≥ 35%, density: ≥ 1.17 [g/cm³]
Methylene blue powder | g | container | 100 | 0 | 0 | 80 | 0 |  | 0 | container | of | 100 | g | Methylene blue, certified, C.I. 50015, C16H18ClN3S·xH2O (x = 2 - 3), MW: ≤ 319.86, melting point (decomposition) ~180 °C, dye component ≥ 82%
Ethanol 95% | litre | bottle | 2.5 | 0 | 0 | 5 | 0 |  | 0 | bottle | of | 2.5 | litre | Ethanol, 96%, technical grade, C2H6O, MW: 46,07, boiling point: 75 -78 °C
Other item calculated per smear | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | of | 0 | 0 | 0
Other item calculated per smear | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | of | 0 | 0 | 0
Burning spirit | litre | bottle | 2.5 | 0 | 0 | 1.5 | 0 |  | 0 | bottle | of | 2.5 | litre | Methanol or methylated ethanol for spirit lamps, techncal quality
Immersion oil | ml | bottle | 100 | 2800 | 28 | 30 | 840 |  | 0 | bottle | of | 100 | ml | Immersion oil, non-drying synthetic oil, refractory index 1.515 - 1.517, viscosity at 20 °C 100 -120 mPas, non fluorescence, light transparency at 400 nm ≥ 75%
Xylene | litre | bottle | 2.5 | 0 | 0 | 60 | 0 |  | 0 | bottle | of | 2.5 | litre | mixture, for synthesis
Cottonwool | g | roll | 500 | 14800 | 29.6 | 5 | 148 |  | 0 | roll | of | 500 | g | Local hospital quality
Nichrome wire | meter | roll | 10 | 0 | 0 | 10 | 0 |  | 0 | roll | of | 10 | meter | Nichrome wire for wireloops, 0.8 - 1 mm diameter, nickel-chromium alloy 89 20, heat resistant to1200 °C
Gloves M | pair | box | 100 | 2800 | 28 | 10 | 280 |  | 0 | box | of | 100 | pair | Powder-free disposable latex gloves, CE category III against complex risks, textured surface for slip resistance, ≥0,3 mm thickness, length ≥240 mm, size M
Loopholder | pc | pack | 10 | 0 | 0 | 70 | 0 |  | 0 | pack | of | 10 | pc | Loop holder, according to Kolle, upper part aluminium or stainless steel, with plastic handle, length 240mm
Timer | pc | pack | 10 | 0 | 0 | 80 | 0 |  | 0 | pack | of | 10 | pc | Timer 0 - 60 min, spring driven, in disinfectable plastic housing, signal sound after time adjusted is over with stand and clip to hang to the lab gown
Slide forceps | pc | pack | 10 | 0 | 0 | 50 | 0 |  | 0 | pack | of | 10 | pc | Forceps, stainless steel (18/8), antimagnetic, rounded, anatomical, length 160 mm
Marker | pc | box | 10 | 0 | 0 | 2 | 0 |  | 0 | box | of | 10 | pc | Marker pen, resistant against water and alcohol, also against autoclaving, writing on nearly all surfaces, even when cold and wet, fast drying, black, line 0.8 - 1 mm broad
Spiritlamp | pc | pc | 1 | 0 | 0 | 19 | 0 |  | 0 | pc | of | 1 | pc | Spirit lamp, brass or stainless steel, volume approx. 85 ml, 100 mm diameter approx. 65 mm height, with wick (cotton wool or metal wire), wick adjustment and cap.
Diamond pencil | pc | pack | 10 | 0 | 0 | 200 | 0 |  | 0 | pack | of | 10 | pc | Diamond pointed glass slide marker
Spare bulb | pc | pc | 1 | 0 | 0 | 6 | 0 |  | 0 | pc | of | 1 | pc | Spare bulb for brightfield microscopy, fit to the specific microscopes used
Spare mirror | pc | pc | 1 | 0 | 0 | 25 | 0 |  | 0 | pc | of | 1 | pc | Spare mirror for brightfield microscopy, fit to the specific microscopes used
Spare objective | pc | pc | 1 | 0 | 0 | 150 | 0 |  | 0 | pc | of | 1 | pc | Spare 100x objective oil immersion for brightfield microscopy, fit to the specific microscopes used
Spare eyepiece | pc | pc | 1 | 0 | 0 | 25 | 0 |  | 0 | pc | of | 1 | pc | Spare 10x ocular, fit to the specific microscopes used
Slidebox | pc | pc | 1 | 0 | 0 | 4.65 | 0 |  | 0 | pc | of | 1 | pc | Slide storage boxes, plastic or wood, for 100 slides 76 x 26 mm
Filter paper circular | pc | box | 100 | 1300 | 13 | 3 | 39 |  | 0 | box | of | 100 | pc | Filterpaper, cellulose, type 113A, weight 80 g/m² , middle fast filtrating, retention range 8 µm, round, diameter 110 mm
Staining bottle | pc | pack | 10 | 0 | 0 | 20 | 0 |  | 0 | pack | of | 10 | pc | Staining bottles, swan neck bottles (PE flask, narrow neck with screw cap and jet dispenser) 250 ml
Beaker | pc | pack | 10 | 0 | 0 | 20 | 0 |  | 0 | pack | of | 10 | pc | Beaker, plastic PP, with handgrip for rinsing, volume 1 L
Dropper bottle | pc | pack | 10 | 0 | 0 | 10 | 0 |  | 0 | pack | of | 10 | pc | Oil dropper bottle, LDPE plastic, seal stopper fixed to screw cap, 10 ml
Stock bottle | pc | carton | 10 | 0 | 0 | 30.6 | 0 |  | 0 | carton | of | 10 | pc | Reagent bottles 1 L, Safe-break Winchester or Duran bottles with thread 45 and screw cap , amber, light absorption from short wave to 500 nm, According to ISO 4746. Volume 1000 ml
Solutions transport container | pc | pc | 1 | 0 | 0 | 5 | 0 |  | 0 | pc | of | 1 | pc | Plastic jerrycan 4-5 L, tight closing with push-in cap as well as outer screwcap
Staining rack | pc | pc | 1 | 0 | 0 | 10 | 0 |  | 0 | pc | of | 1 | pc | Staining rack, home made from glass rods and rubber/ silicon tubes or formed from wire (preferably stainless steel) in appropriate size
Funnel | pc | pack | 10 | 0 | 0 | 5 | 0 |  | 0 | pack | of | 10 | pc | Plastic, upper diameter about 10 cm
Disinfectant | L | container | 5 | 100 | 20 | 5 | 100 |  | 0 | container | of | 5 | L | Disinfectant, 0.5% phenol solution, technical grade
Lab coat | pc | pc | 1 | 0 | 0 | 30 | 0 |  | 0 | pc | of | 1 | pc | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white
Other product calculated per lab | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | of | 0 | 0 | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white
Other product calculated per lab | 0 | 0 | 0 | 0 |  | 0 |  |  | 0 | 0 | of | 0 | 0 | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white

## Variable data
REQUEST FOR AFB-MICROSCOPY SUPPLIES
District |  |  |  |  | Quarter |  |  | Year
| Number of ZN-smears examined during the last period of | [5 empty] | 12 | months: |  |  | 10000 |  | * | If numbers of smears examined are unknown, enter the most recent number of smear-positive cases detected (all), divided by fraction of average positivity rate in the labs, multiplied by the number of sputums examined per suspect, and finally divided over ZN versus FM according to estimated proportions of these tests.
| Number of auramine-smears examined during the last period of | [5 empty] | 12 | months: |  |  | 10000 |  | **
| Number of functional AFB-labs to supply: |  |  |  |  | 12 | 12 |  |  |  | 10 |  | ***
ITEM |  | LEFT IN STOCK**** (pc = piece; g = grams; ml = milliliter; L=litre ) |  | QUANTITIES ORDERED AND EXPECTED TO ARRIVE |  | No. OF MONTHS CONSUMPTION IN STOCK + COMING° | THE QUANTITIES AND NUMBERS OF PACKING UNITS NEEDED WILL APPEAR HERE AFTER ENTERING ALL THE NECESSARY INFORMATION | [7 empty] | QUANTITY SUPPLIED ***** | UNIT | QUANTITY RECEIVED ****** | UNIT | SIGNATURE FOR RECEIPT
Sputum container |  | 100 | pc | 100 | pc | 0.12 | 59800 | pc | or | 59.8 | cartons | at | 1000 | pc/carton
Microscopy slides |  | 100 | pc | 100 | pc | 0.12 | 59800 | pc | or | 1196 | packs | at | 50 | pc/pack
Basic fuchsin |  | 100 | g | 100 | g | 4.8 | 1300 | g | or | 13 | containers | at | 100 | g/container
Phenol |  | 100 | g | 100 | g | 0.6 | 11800 | g | or | 11.8 | containers | at | 1000 | g/container
Auramine O |  | 100 | g | 100 | g | 48 | 0 | g | or | 0 | containers | at | 50 | g/container
Potassium permanganate |  | 100 | g | 100 | g |  | 0 | g | or | 0 | containers | at | 250 | g/container
Sulfuric acid, concentrated |  | 100 | litre | 100 | litre | 171.4286 | 0 | litre | or | 0 | bottles | at | 2.5 | litre/bottle
Hydrochloric acid, fuming (37%) |  | 100 | litre | 100 | litre | 3428.5714 | 0 | litre | or | 0 | bottles | at | 2.5 | litre/bottle
Methylene blue powder |  | 100 | g | 100 | g | 48 | 0 | g | or | 0 | containers | at | 100 | g/container
Ethanol 95% |  | 100 | litre | 100 | litre | 40.678 | 0 | litre | or | 0 | bottles | at | 2.5 | litre/bottle
Other item calculated per smear |  |  | 0 |  | 0 |  | 0 | 0 | or |  | 0s | at | 0 | 0/0
Other item calculated per smear |  |  | 0 |  | 0 |  | 0 | 0 | or |  | 0s | at | 0 | 0/0
Burning spirit |  | 100 | litre | 100 | litre | 120 | 0 | litre | or | 0 | bottles | at | 2.5 | litre/bottle
Immersion oil |  | 100 | ml | 100 | ml | 2.4 | 2800 | ml | or | 28 | bottles | at | 100 | ml/bottle
Xylene |  | 100 | litre | 100 | litre | 6000 | 0 | litre | or | 0 | bottles | at | 2.5 | litre/bottle
Cottonwool |  | 100 | g | 100 | g | 0.48 | 14800 | g | or | 29.6 | rolls | at | 500 | g/roll
Nichrome wire |  | 100 | meter | 100 | meter | 240 | 0 | meter | or | 0 | rolls | at | 10 | meter/roll
Gloves M |  | 100 | pair | 100 | pair | 2.4 | 2800 | pair | or | 28 | boxs | at | 100 | pair/box
Loopholder |  | 100 | pc | 100 | pc | 1200 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Timer |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Slide forceps |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Marker |  | 100 | pc | 100 | pc | 60 | 0 | pc | or | 0 | boxes | at | 10 | pc/box
Spiritlamp |  | 100 | pc | 100 | pc | 1200 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Diamond pencil |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Spare bulb |  | 100 | pc | 100 | pc | 480 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Spare mirror |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Spare objective |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Spare eyepiece |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Slidebox |  | 100 | pc | 100 | pc | 800 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Filter paper circular |  | 100 | pc | 100 | pc | 4.8 | 1300 | pc | or | 13 | boxs | at | 100 | pc/box
Staining bottle |  | 100 | pc | 100 | pc | 800 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Beaker |  | 100 | pc | 100 | pc | 800 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Dropper bottle |  | 100 | pc | 100 | pc | 1200 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Stock bottle |  | 100 | pc | 100 | pc | 800 | 0 | pc | or | 0 | cartons | at | 10 | pc/carton
Solutions transport container |  | 100 | pc | 100 | pc | 1200 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Staining rack |  | 100 | pc | 100 | pc | 2400 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Funnel |  | 100 | pc | 100 | pc | 1200 | 0 | pc | or | 0 | packs | at | 10 | pc/pack
Disinfectant |  | 100 | L | 100 | L | 24 | 100 | L | or | 20 | containers | at | 5 | L/container
Lab coat |  | 100 | pc | 100 | pc | 240 | 0 | pc | or | 0 | pcs | at | 1 | pc/pc
Other product calculated per lab |  |  | 0 |  | 0 |  | 0 | 0 | or |  | 0s | at | 0 | 0/0
Other product calculated per lab |  |  | 0 |  | 0 |  | 0 | 0 | or |  | 0s | at | 0 | 0/0
* | enter here the total number of ZN smears examined in all laboratories supplied from this requesting level
** | enter here the total number of auramine smears examined in all laboratories supplied from this requesting level
*** | enter here the number of functional AFB-microscopy labs to be supplied from this requesting level
**** | enter here the quantitities left in stock at this requesting level only, without counting stock remaining at the AFB-microscopy labs
***** | the supplying level will enter here the quantities supplied,taking into account the calculated needs plus other factors
****** | the requesting level will enter here the quantities received and sign for receipt
° | nos. of months in red font indicate items for emergency procurement (stocks lower than the lead period for procurement)
nos. of months in orange font indicate items in need of regular procurement (stocks insufficient for lead period + consumption period specified)
| Date of the order |  |  |  |  | Signature

## Fixed data
NTP SPECIFIC DATA ON AFB-MICROSCOPY SUPPLIES
(these data will not change frequently and need to be adapted only when necessary)
Number of months consumption |  |  |  | 12
Number of months lead time for new procurement |  |  |  | 12
Number of months reserve stock allowed |  |  |  | 12 |  |  |  | Ratio reserve + lead time / consumption: | 2
ITEM |  | SPECIFY HERE THE FORMULATION OF SOLUTIONS USED BY THE NTP: grams of powder, or millliters of liquid (alcohol, acid) per liter of staining solution |  | SPECIFY HERE THE QUANTITIES PER PACKING UNIT |  |  |  | QUANTITY OF STAINING SOLUTION OR OTHER ITEM NEEDED PER SMEAR
Sputum container |  |  |  | 1000 | pc | / | carton | Sputum container | 1 | pc
Microscopy slides |  |  |  | 50 | pc | / | pack | Microscopy slides | 1 | pc
Basic fuchsin |  | 10 | grams | 100 | g | / | container | Carbolfuchsin solution | 0.005 | litre
Phenol for ZN |  | 50 | grams | 1000 | g | / | container | Auramine staining solution | 0.005 | litre
Phenol for fluorescence |  | 30 | grams | 1000 | g | / | container | Permanganate solution | 0.005 | litre
Auramine O |  | 1 | grams | 50 | g | / | container | Destaining solution ZN | 0.007 | litre
Potassium permanganate |  | 0 | grams | 250 | g | / | container | Destaining solution fluorescence | 0.007 | litre
Sulfuric acid, concentrated |  | 200 | ml | 2.5 | litre | / | bottle | Methylene blue solution | 0.005 | litre
Hydrochloric acid for ZN |  | 0 | ml | 2.5 | litre | / | bottle | Burning spirit | 0.001 | litre
Hydrochloric acid for fluorescence |  | 10 | ml | 2.5 | litre | / | bottle | Immersion oil | 0.1 | ml
Methylene blue powder for ZN |  | 1 | grams | 100 | g | / | container | Other item calculated per smear | 0 | litre
Methylene blue powder for FM |  |  | grams | 100 | g | / | container | Other item calculated per smear |  | litre
Ethanol 95% for ZN and auramine stains |  | 100 | ml | 2.5 | litre | / | bottle
Ethanol 95% for ZN acid alcohol |  | 0 | ml | 2.5 | litre | / | bottle
Ethanol 95% for fluorescence acid alcohol |  | 700 | ml | 2.5 | litre | / | bottle | QUANTITY OF STAINING SOLUTION OR OTHER ITEM NEEDED PER LAB AND PER YEAR
Other item calculated per smear |  |  | grams | 0 | 0 | / | 0
Other item calculated per smear |  |  | grams | 0 | 0 | / | 0 | Xylene | 0.04 | litre
Burning spirit |  |  |  | 2.5 | litre | / | bottle | Cottonwool | 500 | g
Immersion oil |  |  |  | 100 | ml | / | bottle | Nichrome wire | 1 | meter
Xylene |  |  |  | 2.5 | litre | / | bottle | Gloves M | 100 | pair
Cottonwool |  |  |  | 500 | g | / | roll | Loopholder | 0.2 | pc
Nichrome wire |  |  |  | 10 | meter | / | roll | Timer | 0.1 | pc
Gloves M |  |  |  | 100 | pair | / | box | Slide forceps | 0.1 | pc
Loopholder |  |  |  | 10 | pc | / | pack | Marker | 4 | pc
Timer |  |  |  | 10 | pc | / | pack | Spiritlamp | 0.2 | pc
Slide forceps |  |  |  | 10 | pc | / | pack | Diamond pencil | 0.1 | pc
Marker |  |  |  | 10 | pc | / | box | Spare bulb | 0.5 | pc
Spiritlamp |  |  |  | 1 | pc | / | pc | Spare mirror | 0.1 | pc
Diamond pencil |  |  |  | 10 | pc | / | pack | Spare objective | 0.1 | pc
Spare bulb |  |  |  | 1 | pc | / | pc | Spare eyepiece | 0.1 | pc
Spare mirror |  |  |  | 1 | pc | / | pc | Slidebox | 0.3 | pc
Spare objective |  |  |  | 1 | pc | / | pc | Filter paper circular | 50 | pc
Spare eyepiece |  |  |  | 1 | pc | / | pc | Staining bottle | 0.3 | pc
Slidebox |  |  |  | 1 | pc | / | pc | Beaker | 0.3 | pc
Filter paper circular |  |  |  | 100 | pc | / | box | Dropper bottle | 0.2 | pc
Staining bottle |  |  |  | 10 | pc | / | pack | Stock bottle | 0.3 | pc
Beaker |  |  |  | 10 | pc | / | pack | Solutions transport container | 0.2 | pc
Dropper bottle |  |  |  | 10 | pc | / | pack | Staining rack | 0.1 | pc
Stock bottle |  |  |  | 10 | pc | / | carton | Funnel | 0.2 | pc
Solutions transport container |  |  |  | 1 | pc | / | pc | Disinfectant | 10 | L
Staining rack |  |  |  | 1 | pc | / | pc | Lab coat | 1 | pc
Funnel |  |  |  | 10 | pc | / | pack | Other product calculated per lab |  | 0
Disinfectant |  |  |  | 5 | L | / | container | Other product calculated per lab |  | 0
Lab coat |  |  |  | 1 | pc | / | pc
Other product calculated per lab |  |  |  | 0 | 0 | / | 0
Other product calculated per lab |  |  |  | 0 | 0 | / | 0
* | enter here the usually received packing unit

## CountryItems
Item | Description | Measuring or counting unit | Packing unit | No. of units per pack | Price per Pack [€]
Sputum container | Sputum containers, disposable, transparent plastic, frosted writing surface preferred, tight waterproof screw capped, wide mouthed with diameter ≥35 mm, volume 40 - 50 ml, combustible without forming dangerous (poison) smoke | pc | carton | 1000 | 80
Microscopy slides | Microscope slides, lime soda glass with SiO2: 72 - 74 %, Al2O3: 1 – 1,9 %, Fe2O3: 0.09 – 0.1 %, size 76 x 24 mm, thickness 1.0-1.2 mm according to ISO 8037/1, cleaned and degreased, straight edges and corners, cellophanized (tropical packing, paper in-between) | pc | pack | 50 | 2
Basic fuchsin | Basic fuchsine, certified, (Colour Index №) C.I. 42510, C20H20ClN3, MW: 337.85, main product component ≥ 90%, melting point (decomposition 200 °C) | g | container | 100 | 46
Phenol | Phenol crystals, purum, ≥ 99% (GC), C6H6O, MW: 94.11, melting point 40.8 °C | g | container | 1000 | 70
Auramine O | Auramine O, certified, C.I. 41000, C17H22ClN3, MW: 303,84, dye component ≥ 85%, melting point ~ 265 °C | g | container | 50 | 24
Potassium permanganate | Potassium permanganate, analytical grade, content 99%, KMnO4, MW: 158.04, decomposition > 240 °C | g | container | 250 | 70
Sulfuric acid, concentrated | Concentrated sulphuric acid, technical grade, H2SO4, MW: 98.08, density: 1,84 [g/cm³] | litre | bottle | 2.5 | 60
Hydrochloric acid, fuming (37%) | Hydrochloric acid, HCl, MW: 36.5, purum, ≥ 35%, density: ≥ 1.17 [g/cm³] | litre | bottle | 2.5 | 20
Methylene blue powder | Methylene blue, certified, C.I. 50015, C16H18ClN3S·xH2O (x = 2 - 3), MW: ≤ 319.86, melting point (decomposition) ~180 °C, dye component ≥ 82% | g | container | 100 | 80
Ethanol 95% | Ethanol, 96%, technical grade, C2H6O, MW: 46,07, boiling point: 75 -78 °C | litre | bottle | 2.5 | 5
Other item calculated per smear
Other item calculated per smear
Burning spirit | Methanol or methylated ethanol for spirit lamps, techncal quality | litre | bottle | 2.5 | 1.5
Immersion oil | Immersion oil, non-drying synthetic oil, refractory index 1.515 - 1.517, viscosity at 20 °C 100 -120 mPas, non fluorescence, light transparency at 400 nm ≥ 75% | ml | bottle | 100 | 30
Xylene | mixture, for synthesis | litre | bottle | 2.5 | 60
Cottonwool | Local hospital quality | g | roll | 500 | 5
Nichrome wire | Nichrome wire for wireloops, 0.8 - 1 mm diameter, nickel-chromium alloy 89 20, heat resistant to1200 °C | meter | roll | 10 | 10
Gloves M | Powder-free disposable latex gloves, CE category III against complex risks, textured surface for slip resistance, ≥0,3 mm thickness, length ≥240 mm, size M | pair | box | 100 | 10
Loopholder | Loop holder, according to Kolle, upper part aluminium or stainless steel, with plastic handle, length 240mm | pc | pack | 10 | 70
Timer | Timer 0 - 60 min, spring driven, in disinfectable plastic housing, signal sound after time adjusted is over with stand and clip to hang to the lab gown | pc | pack | 10 | 80
Slide forceps | Forceps, stainless steel (18/8), antimagnetic, rounded, anatomical, length 160 mm | pc | pack | 10 | 50
Marker | Marker pen, resistant against water and alcohol, also against autoclaving, writing on nearly all surfaces, even when cold and wet, fast drying, black, line 0.8 - 1 mm broad | pc | box | 10 | 2
Spiritlamp | Spirit lamp, brass or stainless steel, volume approx. 85 ml, 100 mm diameter approx. 65 mm height, with wick (cotton wool or metal wire), wick adjustment and cap. | pc | pc | 1 | 19
Diamond pencil | Diamond pointed glass slide marker | pc | pack | 10 | 200
Spare bulb | Spare bulb for brightfield microscopy, fit to the specific microscopes used | pc | pc | 1 | 6
Spare mirror | Spare mirror for brightfield microscopy, fit to the specific microscopes used | pc | pc | 1 | 25
Spare objective | Spare 100x objective oil immersion for brightfield microscopy, fit to the specific microscopes used | pc | pc | 1 | 150
Spare eyepiece | Spare 10x ocular, fit to the specific microscopes used | pc | pc | 1 | 25
Slidebox | Slide storage boxes, plastic or wood, for 100 slides 76 x 26 mm | pc | pc | 1 | 4.65
Filter paper circular | Filterpaper, cellulose, type 113A, weight 80 g/m² , middle fast filtrating, retention range 8 µm, round, diameter 110 mm | pc | box | 100 | 3
Staining bottle | Staining bottles, swan neck bottles (PE flask, narrow neck with screw cap and jet dispenser) 250 ml | pc | pack | 10 | 20
Beaker | Beaker, plastic PP, with handgrip for rinsing, volume 1 L | pc | pack | 10 | 20
Dropper bottle | Oil dropper bottle, LDPE plastic, seal stopper fixed to screw cap, 10 ml | pc | pack | 10 | 10
Stock bottle | Reagent bottles 1 L, Safe-break Winchester or Duran bottles with thread 45 and screw cap , amber, light absorption from short wave to 500 nm, According to ISO 4746. Volume 1000 ml | pc | carton | 10 | 30.6
Solutions transport container | Plastic jerrycan 4-5 L, tight closing with push-in cap as well as outer screwcap | pc | pc | 1 | 5
Staining rack | Staining rack, home made from glass rods and rubber/ silicon tubes or formed from wire (preferably stainless steel) in appropriate size | pc | pc | 1 | 10
Funnel | Plastic, upper diameter about 10 cm | pc | pack | 10 | 5
Disinfectant | Disinfectant, 0.5% phenol solution, technical grade | L | container | 5 | 5
Lab coat | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white | pc | pc | 1 | 30
Other product calculated per lab | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white
Other product calculated per lab | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white

## ItemsDatabase
Item | Description | Measuring or counting unit | Packing unit | No. of units per pack | Price per Pack [€]
Ziehl-Neelsen microscopy
Burning spirit | Methanol or methylated ethanol for spirit lamps, techncal quality | litre | bottle | 2.5 | 1.5
Basic fuchsin | Basic fuchsine, certified, (Colour Index №) C.I. 42510, C20H20ClN3, MW: 337.85, main product component ≥ 90%, melting point (decomposition 200 °C) | g | container | 100 | 46
Methylene blue powder for ZN and FM | Methylene blue, certified, C.I. 50015, C16H18ClN3S·xH2O (x = 2 - 3), MW: ≤ 319.86, melting point (decomposition) ~180 °C, dye component ≥ 82% | g | container | 100 | 80
Phenol | Phenol crystals, purum, ≥ 99% (GC), C6H6O, MW: 94.11, melting point 40.8 °C | g | container | 1000 | 70
Ethanol 95% | Ethanol, 96%, technical grade, C2H6O, MW: 46,07, boiling point: 75 -78 °C | litre | bottle | 2.5 | 5
Sulfuric acid, concentrated | Concentrated sulphuric acid, technical grade, H2SO4, MW: 98.08, density: 1,84 [g/cm³] | litre | bottle | 2.5 | 60
Hydrochloric acid, fuming (37%) | Hydrochloric acid, HCl, MW: 36.5, purum, ≥ 35%, density: ≥ 1.17 [g/cm³] | litre | bottle | 2.5 | 20
Fluorescence microscopy (additional chemicals specified)
Auramine O | Auramine O, certified, C.I. 41000, C17H22ClN3, MW: 303,84, dye component ≥ 85%, melting point ~ 265 °C | g | container | 50 | 24
Potassium permanganate | Potassium permanganate, analytical grade, content 99%, KMnO4, MW: 158.04, decomposition > 240 °C | g | container | 250 | 70
Phenol
ethanol, 96%
Hydrochloric acid
Consumables for microscopy
Smearing sticks | Applicator sticks: bamboo, coconut, wood... | pc | pack | 1000 | 2.25
Microscopy slides | Microscope slides, lime soda glass with SiO2: 72 - 74 %, Al2O3: 1 – 1,9 %, Fe2O3: 0.09 – 0.1 %, size 76 x 24 mm, thickness 1.0-1.2 mm according to ISO 8037/1, cleaned and degreased, straight edges and corners, cellophanized (tropical packing, paper in-between) | pc | pack | 50 | 2
Microscopy slides | Alternatively microscope slides like described in position 2, but with frosted end, 20mm (for use of pencil as marker pen) | pc | pack | 50 | 2.45
Microscopy slides | Alternatively microscope slides like described in position 4, but edges grinded 90° (to prevent injuries) | pc | pack | 50 | 3.3
Diamond pencil | Diamond pointed glass slide marker | pc | pack | 10 | 200
Sputum container | Sputum containers, disposable, transparent plastic, frosted writing surface preferred, tight waterproof screw capped, wide mouthed with diameter ≥35 mm, volume 40 - 50 ml, combustible without forming dangerous (poison) smoke | pc | carton | 1000 | 8
Immersion oil | Immersion oil, non-drying synthetic oil, refractory index 1.515 - 1.517, viscosity at 20 °C 100 -120 mPas, non fluorescence, light transparency at 400 nm ≥ 75% | ml | bottle | 100 | 30
Xylene | mixture, for synthesis | litre | bottle | 2.5 | 60
Cottonwool | Local hospital quality | kg | roll | 0.5
Soft paper | Lens tissue (paper), soft, fluff free, about 80 x 100 mm, block of 50 sheets and 10 blocks in one pack | sheet | pack | 500 | 27
Gloves S | Powder-free disposable latex gloves, CE category III against complex risks, textured surface for slip resistance, ≥0,3 mm thickness, length ≥240 mm, size S | pair | box | 100 | 10
Gloves M | Powder-free disposable latex gloves, CE category III against complex risks, textured surface for slip resistance, ≥0,3 mm thickness, length ≥240 mm, size M | pair | box | 100 | 10
Gloves L | Powder-free disposable latex gloves, CE category III against complex risks, textured surface for slip resistance, ≥0,3 mm thickness, length ≥240 mm, size L | pair | box | 100 | 10
Request forms | Laboratory request forms | form | pack | 500 | variable
Report forms | Laboratory report forms | form | pack | 500 | variable
Lab register | Sputum smear register | register | pack | 10 | variable
Filter paper | Filterpaper, cellulose, type 113A, weight 80 g/m² , middle fast filtrating, retention range 8 µm, round, diameter 110 mm | pc | box | 100 | 3
Filter paper | Filterpaper, cellulose, type 113A, weight 80 g/m² , middle fast filtrating, retention range 8 µm, round, diameter 70 mm | pc | box | 100 | 3.3
Filter paper | Fiterpaper, cellulose, type 113A, weight 80 g/m² , middle fast filtrating, retention range 8 µm, round, diameter 150 mm | pc | box | 100 | 6.4
Disinfectant | Disinfectant, 0.5% phenol solution, technical grade | L | container | 5 | local variation
Small equipment for microscopy
Microscope ZN | Binocular microscope | pc | pc | 1 | 1200
Microscope FM | Binocular fluorescence microscope | pc | pc | 1 | 1250
Spare mirror | Spare mirror for brightfield microscopy, fit to the specific microscopes used | pc | pc | 1 | 25
Spare bulb | Spare bulb for brightfield microscopy, fit to the specific microscopes used | pc | pc | 1 | 6
Spare objective | Spare 100x objective oil immersion for brightfield microscopy, fit to the specific microscopes used | pc | pc | 1 | 150
Spare eyepiece | Spare 10x ocular, fit to the specific microscopes used | pc | pc | 1 | 25
Bunsen | Bunsen Burner for the use of natural and/or for propane/ butane gas, needle valve for gas, air regulation, adjustable to economizer (mini) flame, gas hose connection for gas safety tubing with 9.5mm inner diameter, safe stand | pc | pc | 1 | 22
Bunsen tubing | Gas safety tubing appropriate for gas to be used and appropriate for safe connection to hose connection, two hose clips for each tube | m | roll | 5 | 30,00 or 32,00
Bunsen gas | Butane gas cylinders (if needed two per lab), size according to containers available, and storage according to national rules, (if larger than 500 ml at a good ventilated locked box, connected through a metal pipe to the laboratory). Flexible connections inside the laboratory should be as short as possible | pc | pc | 1 | local variation
Bunsen pressure reducer | Gas cylinder pressure reducer with appropriate tube fitting, stopcock | pc | pc | 1 | 25
Spiritlamp | Spirit lamp, brass or stainless steel, volume approx. 85 ml, 100 mm diameter approx. 65 mm height, with wick (cotton wool or metal wire), wick adjustment and cap. | pc | pc | 1 | 19
Loopholder | Loop holder, according to Kolle, upper part aluminium or stainless steel, with plastic handle, length 240mm | pc | pack | 10 | 7.2
Loopholder rack | Racks for loop holders, smooth, disinfectable, proper stand, 3 to 4 positions | pc | pack | 10 | 4.7
Nichrome wire | Nichrome wire for wireloops, 0.8 - 1 mm diameter, nickel-chromium alloy 89 20, heat resistant to1200 °C | meter | roll | 10 | 0.9
Staining rack | Staining rack, home made from glass rods and rubber/ silicon tubes or formed from wire (preferably stainless steel) in appropriate size | pc | pc | 1 | 25
Drying rack | Slide drying rack, made from metal or heat stable plastic (≥120 °C), disinfectable, 20 -30 positions, positions slightly inclined for easy take off | pc | pc | 1 | 3.25
Slidebox | Slide storage boxes, plastic or wood, for 100 slides 76 x 26 mm | pc | pc | 1 | 4.65
Scissors | Scissors, stainless steel (18/8), polished, one part pointed, one part rounded, length 160 mm, autoclavable | pc | pack | 10 | 10
Slide forceps | Forceps, stainless steel (18/8), antimagnetic, rounded, anatomical, length 160 mm | pc | pack | 10 | 5.5
Steriliser | Pressure cooker purchased from the local market, size as large as available | pc | pc | 1 | local variations
Timer | Timer 0 - 60 min, spring driven, in disinfectable plastic housing, signal sound after time adjusted is over with stand and clip to hang to the lab gown | pc | pack | 10 | 8
Lab coat | Laboratory gown, prime cotton, fast to boiling, hooded button row, long sleeved, white | pc | pc | 1 | 30
Marker | Marker pen, resistant against water and alcohol, also against autoclaving, writing on nearly all surfaces, even when cold and wet, fast drying, black, line 0.8 - 1 mm broad | pc | box | 10 | 2
Labels | Strongly self sticking adhesive labels, rolls or sheets (e.g. 50 x 19 mm, 24 per sheet and 200 sheets per box = 4800 label) | pc | box | 4800 | 46
Stock bottle | Reagent bottles 1 L, Safe-break Winchester or Duran bottles with thread 45 and screw cap , amber, light absorption from short wave to 500 nm, According to ISO 4746. Volume 1000 ml | pc | carton | 10 | 30.6
Solutions transport container | Plastic jerrycan 4-5 L, tight closing with push-in cap as well as outer screwcap | pc | pc | 1 | local variation
Staining bottle | Staining bottles, swan neck bottles (PE flask, narrow neck with screw cap and jet dispenser) 250 ml | pc | pack | 10 | 4
Beaker | Beaker, plastic PP, with handgrip for rinsing, volume 1 L | pc | pack | 10 | 3
Funnel | Funnel, lime-soda-glass, upper diameter about 50 mm, | pc | pack | 10 | 2.1
Funnel | Funnel, lime-soda-glass, upper diameter about 100 mm. Remark: Price difference lime-soda glass to Duran glass about a factor of 3 | pc | pack | 10 | 3.1
Funnel | Alternative, funnel, stainless steel, upper diameter approx. 50 mm, handgrip, side furrow for easy and controlled escape of container air. Advantage, durable, no breakage, less danger of injury | pc | pack | 10 | 8.25
Funnel | Alternative, funnel, stainless steel, upper diameter approx. 100 mm, handgrip, side furrow for easy and controlled escape of container air. Advantage, durable, no breakage, less danger of injury | pc | pack | 10 | 12.5
Dropper bottle | Drop bottle, lime-soda-glass, complete with exchangeable norm grinded pipette and rubber suction device, volume 100 ml | pc | pack | 10 | 6.1
Dropper bottle | Oil dropper bottle, LDPE plastic, seal stopper fixed to screw cap, 10 ml | pc | pack | 10 | 1
Heating torch | Metal rod, 30 cm long, for use as a torch while heating slides covered with carbolfuchsin on staining rack | pc | pc | 1 | local variation
Distiller | Water distiller, 3-4L per hour | pc | pc | 1 | 900
Water tank | Balloon HDPE with discharge cock, 30 L, as stock container for distilled water | pc | pc | 1 | 60
Balance | Analytical balance, at least 10 mg readability, mechanical or electronic | pc | pc | 1 | 750

## Calculations (hidden)
ORDER FOR AFB-MICROSCOPY SUPPLIES
District |  |  | Quarter |  |  | Year
| A | [5 empty] | Number of ZN-smears examined during the last period | 10000 |  |  | Number ZN smears per month | 833.3333
| B | [5 empty] | Number of auramine-smears examined during the last period | 10000 |  |  | Number FM smears per month | 833.3333
| C | [5 empty] | Number of functional AFB-labs to supply | 10 |  |  | Total smears per month | 1666.6667
ITEM | QUANTITY OF THE ITEM NEEDED PER SMEAR OR PER LAB |  | FACTOR STAINING SOLUTION FORMULATION | QUANTITY NEEDED FOR CONSUMPTION | CONSUMPTION PER MONTH | RESERVE + LEAD TIME CONSUMPTION | CONSUMPTION + RESERVE | QUANTITIES IN STOCK + ARRIVING | No.OF MONTHS CONSUMPTION | CALCULATED NECESSARY QUANTITY | REQUEST ROUNDED |  | QUANTITY PER PACKING UNIT
|  |  | (grams/milliters of reagent per liter of solution ready for use) | (pcs, grams, ml) | AT CURRENT RATE | (pcs, grams, ml) | (pcs, grams, ml) | (pcs, grams, ml, L) | COVERED BY STOCK | (pcs, grams, ml, L) | to complete packing units |  | (cartons, bottles) |  | Calculation of packing units | Zero values for negatives
Sputum container | 1 | pc |  | 20000 | 1666.6667 | 40000 | 60000 | 200 | 0.12 | 59800 | 59.8 | cartons | 1000 | pc/carton | 59.8 | 59.8
Microscopy slides | 1 | pc |  | 20000 | 1666.6667 | 40000 | 60000 | 200 | 0.12 | 59800 | 1196 | packs | 50 | pc/pack | 1196 | 1196
Basic fuchsin | 0.005 | litre | 10 | 500 | 41.6667 | 1000 | 1500 | 200 | 4.8 | 1300 | 13 | containers | 100 | g/container | 13 | 13
Phenol for ZN | 0.005 | litre | 50 | 2500 | 208.3333 | 5000 | 7500 | 200 | 0.6 | 11800 | 11.8 | containers | 1000 | g/container | 11.8 | 11.8
Phenol for fluorescence | 0.005 | litre | 30 | 1500 | 125 | 3000 | 4500
Auramine O | 0.005 | litre | 1 | 50 | 4.1667 | 100 | 150 | 200 | 48 | -50 | 0 | containers | 50 | g/container | -1 | 0
Potassium permanganate | 0.005 | litre | 0 | 0 | 0 | 0 | 0 | 200 | #DIV/0! | -200 | 0 | containers | 250 | g/container | -0.8 | 0
Sulfuric acid, concentrated | 0.007 | litre | 200 | 14000 | 1166.6667 | 28000 | 42000 | 200 | 171.4286 | -158 | 0 | bottles | 2.5 | litre/bottle | -63.2 | 0
Hydrochloric acid for ZN | 0.007 | litre | 0 | 0 | 0 | 0 | 0 | 200 | 3428.5714 | -197.9 | 0 | bottles | 2.5 | litre/bottle | -79.16 | 0
Hydrochloric acid for fluorescence | 0.007 | litre | 10 | 700 | 58.3333 | 1400 | 2100
Methylene blue powder for ZN | 0.005 | litre | 1 | 50 | 4.1667 | 100 | 150 | 200 | 48 | -50 | 0 | containers | 100 | g/container | -0.5 | 0
Methylene blue powder for FM | 0.005 | litre | 0 | 0 | 0 | 0 | 0 | [6 empty] | g/container | #DIV/0! | #DIV/0!
Ethanol 95% for ZN and auramine stains | 0.005 | litre | 100 | 10000 | 833.3333 | 20000 | 30000 | 200 | 40.678 | -23 | 0 | bottles | 2.5 | litre/bottle | -9.2 | 0
Ethanol 95% for ZN acid alcohol | 0.007 | litre | 0 | 0 | 0 | 0 | 0
Ethanol 95% for fluorescence acid alcohol | 0.007 | litre | 700 | 49000 | 4083.3333 | 98000 | 147000
Other item calculated per smear | 0 | litre | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0s | 0 | 0/0 | #DIV/0! | #DIV/0!
Other item calculated per smear | 0 | litre | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0s | 0 | 0/0 | #DIV/0! | #DIV/0!
Burning spirit | 0.001 | litre |  | 20 | 1.6667 | 40 | 60 | 200 | 120 | -140 | 0 | bottles | 2.5 | litre/bottle | -56 | 0
Immersion oil | 0.1 | ml |  | 1000 | 83.3333 | 2000 | 3000 | 200 | 2.4 | 2800 | 28 | bottles | 100 | ml/bottle | 28 | 28
Xylene | 0.04 | litre |  | 0.4 | 0.033333 | 0.8 | 1.2 | 200 | 6000 | -198.8 | 0 | bottles | 2.5 | litre/bottle | -79.52 | 0
Cottonwool | 500 | g |  | 5000 | 416.6667 | 10000 | 15000 | 200 | 0.48 | 14800 | 29.6 | rolls | 500 | g/roll | 29.6 | 29.6
Nichrome wire | 1 | meter |  | 10 | 0.83333 | 20 | 30 | 200 | 240 | -170 | 0 | rolls | 10 | meter/roll | -17 | 0
Gloves M | 100 | pair |  | 1000 | 83.3333 | 2000 | 3000 | 200 | 2.4 | 2800 | 28 | boxs | 100 | pair/box | 28 | 28
Loopholder | 0.2 | pc |  | 2 | 0.16667 | 4 | 6 | 200 | 1200 | -194 | 0 | packs | 10 | pc/pack | -19.4 | 0
Timer | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | packs | 10 | pc/pack | -19.7 | 0
Slide forceps | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | packs | 10 | pc/pack | -19.7 | 0
Marker | 4 | pc |  | 40 | 3.3333 | 80 | 120 | 200 | 60 | -80 | 0 | boxes | 10 | pc/box | -8 | 0
Spiritlamp | 0.2 | pc |  | 2 | 0.16667 | 4 | 6 | 200 | 1200 | -194 | 0 | pcs | 1 | pc/pc | -194 | 0
Diamond pencil | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | packs | 10 | pc/pack | -19.7 | 0
Spare bulb | 0.5 | pc |  | 5 | 0.41667 | 10 | 15 | 200 | 480 | -185 | 0 | pcs | 1 | pc/pc | -185 | 0
Spare mirror | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | pcs | 1 | pc/pc | -197 | 0
Spare objective | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | pcs | 1 | pc/pc | -197 | 0
Spare eyepiece | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | pcs | 1 | pc/pc | -197 | 0
Slidebox | 0.3 | pc |  | 3 | 0.25 | 6 | 9 | 200 | 800 | -191 | 0 | pcs | 1 | pc/pc | -191 | 0
Filter paper circular | 50 | pc |  | 500 | 41.6667 | 1000 | 1500 | 200 | 4.8 | 1300 | 13 | boxs | 100 | pc/box | 13 | 13
Staining bottle | 0.3 | pc |  | 3 | 0.25 | 6 | 9 | 200 | 800 | -191 | 0 | packs | 10 | pc/pack | -19.1 | 0
Beaker | 0.3 | pc |  | 3 | 0.25 | 6 | 9 | 200 | 800 | -191 | 0 | packs | 10 | pc/pack | -19.1 | 0
Dropper bottle | 0.2 | pc |  | 2 | 0.16667 | 4 | 6 | 200 | 1200 | -194 | 0 | packs | 10 | pc/pack | -19.4 | 0
Stock bottle | 0.3 | pc |  | 3 | 0.25 | 6 | 9 | 200 | 800 | -191 | 0 | cartons | 10 | pc/carton | -19.1 | 0
Solutions transport container | 0.2 | pc |  | 2 | 0.16667 | 4 | 6 | 200 | 1200 | -194 | 0 | pcs | 1 | pc/pc | -194 | 0
Staining rack | 0.1 | pc |  | 1 | 0.083333 | 2 | 3 | 200 | 2400 | -197 | 0 | pcs | 1 | pc/pc | -197 | 0
Funnel | 0.2 | pc |  | 2 | 0.16667 | 4 | 6 | 200 | 1200 | -194 | 0 | packs | 10 | pc/pack | -19.4 | 0
Disinfectant | 10 | L |  | 100 | 8.3333 | 200 | 300 | 200 | 24 | 100 | 20 | containers | 5 | L/container | 20 | 20
Lab coat | 1 | pc |  | 10 | 0.83333 | 20 | 30 | 200 | 240 | -170 | 0 | pcs | 1 | pc/pc | -170 | 0
Other product calculated per lab | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0s | 0 | 0/0 | #DIV/0! | #DIV/0!
Other product calculated per lab | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | #DIV/0! | 0s | 0 | 0/0 | #DIV/0! | #DIV/0!